| Damaged Column no.CE0865 | Damaged Column no.CE0865 | Replaced of New Column |
| --- | --- | --- |
| Column Depth | Column Depth | Concrete Surrounded |
| Concrete Surrounded | Interior of Column | Reinstatement |
| Lantern Lit on |  |  |

| Interior of Existing LED Lantern | Interior of Existing LED Lantern | Supply voltage |
| --- | --- | --- |
| Supply current | Earth fault loop impedance Existing circuit earth loop value, we cannot change the value by column replacement. Chau Wai Sing:_____ |  |

.